## 160219_001_1132_Results
start date: | 2016-02-19
start time: | 11.32.39
stop date: | 2016-02-19
stop time: | 12.07.52
com rel. humid (%): | 34.7
com temp (ｰC): | 26.77
cn temp (ｰC): | 28.5
nv temp (ｰC): | 32.5
remarks:
R1 Info: | QHR(1.290640350E+4)
R2 Info: | 1445(1.000000000E+4)
data filepath: | C:\MagniconData\CCCViewerData\cccviewer_measure\2016-02-19_CCC\160219_001_1132.txt
config filepath: | C:\MagniconData\CCCViewerData\cccviewer_measure\2016-02-19_CCC\160219_001_1132_cccdrive.cfg
setup_file_path | C:\MagniconData\SQUIDViewerData\Saved Setups\Newest.stp
time base (Hz): | 60
integration time (time base multiples): | 3
number of samples per half cycle: | 100
ignored first samples: | 50
ignored last samples: | 0
amplifier gain: | 10000
delta N1/NA (mTurns): | -41.1377
delta (I2*R2) (V): | 3
N1: | 2065
N2: | 1600
Mode: | FLL
Rf Amp:: | OFF
Amp Gain: | PLUS
Rf FLL: | 11.0 kOhm
SQUID Gain: | NEG
I1 Range: | 300uA
I1 Amplitude: | 0.00011622
feedin Polarity: | POS
I1 SQUID feedIn (ON/OFF): | OFF
I1 SQUID feedin: | -37.0dB
I2 Range: | 300uA
I2 Amplitude: | 0.00015
I2 SQUID feedIn (ON/OFF): | ON
I2 SQUID feedin: | -52.0dB
Screen (+): | ON
Screen (-): | OFF
Screen Amplitude: | 1.5
Results
Standard Pressure Correction: | NO
Res(ppm) | Ave Res(ppm) | stddrtN-1(ppm) | resistance(ohm)
28.0559 | 5.6404 | 0
#points | bvd(V) | bvdmean(V) | stddrtN-1(V) | Res(ppm) | Ave Res(ppm) | stddrtN-1(ppm) | resistance(ohm)
1 | 2.568e-08 | 2.568e-08 | NaN | 31.8069 | 31.8069 | NaN | 10000.3181 | slope | -0.02 | 9 | 3 | 8.99
2 | 1.44e-09 | 1.356e-08 | 1.714e-08 | 31.815 | 31.811 | 0.0057136 | 10000.3181 |  |  | 9 | 44 | 7.17
3 | 1.1664e-07 | 4.792e-08 | 6.0735e-08 | 31.7766 | 31.7995 | 0.020246 | 10000.318 |  |  | 9 | 100 | 4.5
4 | 2.352e-08 | 4.182e-08 | 5.1068e-08 | 31.8077 | 31.8016 | 0.017023 | 10000.318 |  |  | 9
5 | 4.488e-08 | 4.2432e-08 | 4.4248e-08 | 31.8005 | 31.8013 | 0.01475 | 10000.318 |  |  | 9 | slope | -0.046371
6 | 8.568e-08 | 4.964e-08 | 4.3336e-08 | 31.7869 | 31.799 | 0.014446 | 10000.318 |  |  | 9
7 | 6.144e-08 | 5.1326e-08 | 3.9811e-08 | 31.795 | 31.7984 | 0.013271 | 10000.318 |  |  | 8.9536
8 | 3.168e-08 | 4.887e-08 | 3.7507e-08 | 31.8049 | 31.7992 | 0.012503 | 10000.318 |  |  | 8.9073
9 | 5.088e-08 | 4.9093e-08 | 3.5091e-08 | 31.7985 | 31.7991 | 0.011697 | 10000.318 |  |  | 8.8609
10 | 5.136e-08 | 4.932e-08 | 3.3091e-08 | 31.7984 | 31.7991 | 0.011031 | 10000.318 |  |  | 8.8145
11 | 2.568e-08 | 4.7171e-08 | 3.2192e-08 | 31.8069 | 31.7998 | 0.010731 | 10000.318 |  |  | 8.7681
12 | 4.704e-08 | 4.716e-08 | 3.0694e-08 | 31.7998 | 31.7998 | 0.010232 | 10000.318 |  |  | 8.7218
13 | 3.024e-08 | 4.5858e-08 | 2.976e-08 | 31.8054 | 31.8002 | 0.0099202 | 10000.318 |  |  | 8.6754
14 | 2.664e-08 | 4.4486e-08 | 2.905e-08 | 31.8066 | 31.8007 | 0.0096836 | 10000.318 |  |  | 8.629
15 | 2.976e-08 | 4.3504e-08 | 2.825e-08 | 31.8056 | 31.801 | 0.009417 | 10000.318 |  |  | 8.5827
16 | 4.488e-08 | 4.359e-08 | 2.7294e-08 | 31.8005 | 31.801 | 0.0090985 | 10000.318 |  |  | 8.5363
17 | 4.08e-08 | 4.3426e-08 | 2.6436e-08 | 31.8019 | 31.801 | 0.0088124 | 10000.318 |  |  | 8.4899
18 | 4.128e-08 | 4.3307e-08 | 2.5652e-08 | 31.8017 | 31.8011 | 0.008551 | 10000.318 |  |  | 8.4436
19 | 3.936e-08 | 4.3099e-08 | 2.4946e-08 | 31.8024 | 31.8011 | 0.0083155 | 10000.318 |  |  | 8.3972
20 | 5.064e-08 | 4.3476e-08 | 2.4339e-08 | 31.7986 | 31.801 | 0.0081132 | 10000.318 |  |  | 8.3508
21 | 4.896e-08 | 4.3737e-08 | 2.3753e-08 | 31.7992 | 31.8009 | 0.0079179 | 10000.318 |  |  | 8.3044
22 | 2.76e-08 | 4.3004e-08 | 2.3434e-08 | 31.8063 | 31.8012 | 0.0078117 | 10000.318 |  |  | 8.2581
23 | 4.728e-08 | 4.319e-08 | 2.2913e-08 | 31.7997 | 31.8011 | 0.0076379 | 10000.318 |  |  | 8.2117
24 | 4.104e-08 | 4.31e-08 | 2.2414e-08 | 31.8018 | 31.8011 | 0.0074714 | 10000.318 |  |  | 8.1653
25 | 1.392e-08 | 4.1933e-08 | 2.2704e-08 | 31.8109 | 31.8015 | 0.0075684 | 10000.318 |  |  | 8.119
26 | 6.048e-08 | 4.2646e-08 | 2.2541e-08 | 31.7953 | 31.8013 | 0.007514 | 10000.318 |  |  | 8.0726
27 | 5.664e-08 | 4.3164e-08 | 2.2267e-08 | 31.7966 | 31.8011 | 0.0074225 | 10000.318 |  |  | 8.0262
28 | 3.048e-08 | 4.2711e-08 | 2.1982e-08 | 31.8053 | 31.8013 | 0.0073275 | 10000.318 |  |  | 7.9798
29 | 5.808e-08 | 4.3241e-08 | 2.1773e-08 | 31.7961 | 31.8011 | 0.0072581 | 10000.318 |  |  | 7.9335
30 | 2.784e-08 | 4.2728e-08 | 2.1579e-08 | 31.8062 | 31.8013 | 0.0071932 | 10000.318 |  |  | 7.8871
31 | 4.032e-08 | 4.265e-08 | 2.1221e-08 | 31.8021 | 31.8013 | 0.0070737 | 10000.318 |  |  | 7.8407
32 | 4.776e-08 | 4.281e-08 | 2.0895e-08 | 31.7996 | 31.8012 | 0.0069652 | 10000.318 |  |  | 7.7944
33 | 4.08e-08 | 4.2749e-08 | 2.0569e-08 | 31.8019 | 31.8012 | 0.0068565 | 10000.318 |  |  | 7.748
34 | 6.168e-08 | 4.3306e-08 | 2.0513e-08 | 31.7949 | 31.8011 | 0.006838 | 10000.318 |  |  | 7.7016
35 | 4.32e-09 | 4.2192e-08 | 2.1257e-08 | 31.8141 | 31.8014 | 0.0070858 | 10000.318 |  |  | 7.6552
36 | -2.88e-09 | 4.094e-08 | 2.2257e-08 | 31.8165 | 31.8019 | 0.0074192 | 10000.318 |  |  | 7.6089
37 | 2.352e-08 | 4.0469e-08 | 2.2132e-08 | 31.8077 | 31.802 | 0.0073774 | 10000.318 |  |  | 7.5625
38 | 3.288e-08 | 4.0269e-08 | 2.1865e-08 | 31.8045 | 31.8021 | 0.0072886 | 10000.318 |  |  | 7.5161
39 | 4.416e-08 | 4.0369e-08 | 2.1585e-08 | 31.8008 | 31.802 | 0.0071951 | 10000.318 |  |  | 7.4698
40 | 4.56e-08 | 4.05e-08 | 2.1322e-08 | 31.8003 | 31.802 | 0.0071076 | 10000.318 |  |  | 7.4234
41 | 3.72e-08 | 4.042e-08 | 2.106e-08 | 31.8031 | 31.802 | 0.0070203 | 10000.318 |  |  | 7.377
42 | 3.936e-08 | 4.0394e-08 | 2.0802e-08 | 31.8024 | 31.802 | 0.0069344 | 10000.318 |  |  | 7.3307
43 | 3.168e-08 | 4.0192e-08 | 2.0596e-08 | 31.8049 | 31.8021 | 0.0068656 | 10000.318 |  |  | 7.2843
44 | 7.92e-09 | 3.9458e-08 | 2.0929e-08 | 31.8129 | 31.8024 | 0.0069764 | 10000.318 |  |  | 7.2379
45 | 6.744e-08 | 4.008e-08 | 2.1106e-08 | 31.793 | 31.8021 | 0.0070355 | 10000.318 |  |  | 7.1915
46 | 3.72e-08 | 4.0017e-08 | 2.0874e-08 | 31.8031 | 31.8022 | 0.0069583 | 10000.318 |  |  | 7.1452
47 | 5.352e-08 | 4.0305e-08 | 2.074e-08 | 31.7977 | 31.8021 | 0.0069135 | 10000.318 |  |  | 7.0988
48 | 2.256e-08 | 3.9935e-08 | 2.0677e-08 | 31.808 | 31.8022 | 0.0068926 | 10000.318 |  |  | 7.0524
49 | 5.544e-08 | 4.0251e-08 | 2.058e-08 | 31.797 | 31.8021 | 0.0068603 | 10000.318 |  |  | 7.0061
50 | 2.688e-08 | 3.9984e-08 | 2.0457e-08 | 31.8065 | 31.8022 | 0.0068191 | 10000.318 |  |  | 6.9597
51 | 7.464e-08 | 4.0664e-08 | 2.0824e-08 | 31.7906 | 31.8019 | 0.0069417 | 10000.318 |  |  | 6.9133
52 | 4.92e-08 | 4.0828e-08 | 2.0653e-08 | 31.7991 | 31.8019 | 0.0068846 | 10000.318 |  |  | 6.8669
53 | 5.16e-08 | 4.1031e-08 | 2.0507e-08 | 31.7983 | 31.8018 | 0.0068359 | 10000.318 |  |  | 6.8206
54 | 2.952e-08 | 4.0818e-08 | 2.0373e-08 | 31.8057 | 31.8019 | 0.0067912 | 10000.318 |  |  | 6.7742
55 | 4.68e-08 | 4.0927e-08 | 2.02e-08 | 31.7999 | 31.8019 | 0.0067334 | 10000.318 |  |  | 6.7278
56 | 2.16e-08 | 4.0581e-08 | 2.0181e-08 | 31.8083 | 31.802 | 0.0067273 | 10000.318 |  |  | 6.6815
57 | 4.992e-08 | 4.0745e-08 | 2.0038e-08 | 31.7989 | 31.8019 | 0.0066797 | 10000.318 |  |  | 6.6351
58 | 4.128e-08 | 4.0754e-08 | 1.9862e-08 | 31.8017 | 31.8019 | 0.0066209 | 10000.318 |  |  | 6.5887
59 | 5.976e-08 | 4.1077e-08 | 1.9845e-08 | 31.7956 | 31.8018 | 0.0066151 | 10000.318 |  |  | 6.5424
60 | 3.912e-08 | 4.1044e-08 | 1.9678e-08 | 31.8025 | 31.8018 | 0.0065594 | 10000.318 |  |  | 6.496
61 | 5.16e-08 | 4.1217e-08 | 1.956e-08 | 31.7983 | 31.8018 | 0.0065201 | 10000.318 |  |  | 6.4496
62 | 5.136e-08 | 4.1381e-08 | 1.9441e-08 | 31.7984 | 31.8017 | 0.0064807 | 10000.318 |  |  | 6.4032
63 | 5.088e-08 | 4.1531e-08 | 1.9321e-08 | 31.7985 | 31.8016 | 0.0064406 | 10000.318 |  |  | 6.3569
64 | 3.864e-08 | 4.1486e-08 | 1.917e-08 | 31.8026 | 31.8017 | 0.0063904 | 10000.318 |  |  | 6.3105
65 | 3.648e-08 | 4.1409e-08 | 1.903e-08 | 31.8033 | 31.8017 | 0.0063436 | 10000.318 |  |  | 6.2641
66 | 2.976e-08 | 4.1233e-08 | 1.8938e-08 | 31.8056 | 31.8017 | 0.0063128 | 10000.318 |  |  | 6.2178
67 | 3.912e-08 | 4.1201e-08 | 1.8795e-08 | 31.8025 | 31.8018 | 0.0062653 | 10000.318 |  |  | 6.1714
68 | 8.88e-08 | 4.1901e-08 | 1.9527e-08 | 31.7859 | 31.8015 | 0.0065093 | 10000.318 |  |  | 6.125
69 | 4.8e-08 | 4.199e-08 | 1.9397e-08 | 31.7995 | 31.8015 | 0.0064659 | 10000.318 |  |  | 6.0786
70 | 6.048e-08 | 4.2254e-08 | 1.9382e-08 | 31.7953 | 31.8014 | 0.006461 | 10000.318 |  |  | 6.0323
71 | 7.344e-08 | 4.2693e-08 | 1.9596e-08 | 31.791 | 31.8013 | 0.0065323 | 10000.318 |  |  | 5.9859
72 | 6.552e-08 | 4.301e-08 | 1.9643e-08 | 31.7937 | 31.8012 | 0.0065478 | 10000.318 |  |  | 5.9395
73 | 9.072e-08 | 4.3664e-08 | 2.0289e-08 | 31.7853 | 31.8009 | 0.0067633 | 10000.318 |  |  | 5.8932
74 | 1.0248e-07 | 4.4458e-08 | 2.1278e-08 | 31.7813 | 31.8007 | 0.007093 | 10000.318 |  |  | 5.8468
75 | 8.016e-08 | 4.4934e-08 | 2.1532e-08 | 31.7888 | 31.8005 | 0.0071777 | 10000.318 |  |  | 5.8004
76 | 1.2096e-07 | 4.5935e-08 | 2.3098e-08 | 31.7752 | 31.8002 | 0.0076996 | 10000.318 |  |  | 5.754
77 | 1.1952e-07 | 4.689e-08 | 2.443e-08 | 31.7757 | 31.7999 | 0.0081435 | 10000.318 |  |  | 5.7077
78 | 1.5672e-07 | 4.8298e-08 | 2.7271e-08 | 31.7633 | 31.7994 | 0.0090907 | 10000.318 |  |  | 5.6613
79 | 1.7304e-07 | 4.9877e-08 | 3.0515e-08 | 31.7578 | 31.7989 | 0.010172 | 10000.318 |  |  | 5.6149
80 | 2.2224e-07 | 5.2032e-08 | 3.5927e-08 | 31.7414 | 31.7981 | 0.011976 | 10000.318 |  |  | 5.5686
81 | 2.4792e-07 | 5.445e-08 | 4.1813e-08 | 31.7329 | 31.7974 | 0.013938 | 10000.318 |  |  | 5.5222
82 | 3.1536e-07 | 5.7632e-08 | 5.0566e-08 | 31.7104 | 31.7963 | 0.016856 | 10000.318 |  |  | 5.4758
83 | 3.7896e-07 | 6.1504e-08 | 6.1398e-08 | 31.6892 | 31.795 | 0.020467 | 10000.318 |  |  | 5.4295
84 | 5.076e-07 | 6.6814e-08 | 7.806e-08 | 31.6463 | 31.7932 | 0.026021 | 10000.3179 |  |  | 5.3831
85 | 6.1032e-07 | 7.3208e-08 | 9.7448e-08 | 31.612 | 31.7911 | 0.032484 | 10000.3179 |  |  | 5.3367
86 | 7.3632e-07 | 8.0919e-08 | 1.204e-07 | 31.57 | 31.7885 | 0.040136 | 10000.3179 |  |  | 5.2903
87 | 9.2136e-07 | 9.0579e-08 | 1.4983e-07 | 31.5084 | 31.7853 | 0.049943 | 10000.3178 |  |  | 5.244
88 | 1.1186e-06 | 1.0226e-07 | 1.8493e-07 | 31.4426 | 31.7814 | 0.061646 | 10000.3178 |  |  | 5.1976
89 | 1.4582e-06 | 1.175e-07 | 2.3339e-07 | 31.3294 | 31.7763 | 0.077799 | 10000.3178 |  |  | 5.1512
90 | 1.789e-06 | 1.3607e-07 | 2.9138e-07 | 31.2192 | 31.7701 | 0.097129 | 10000.3177 |  |  | 5.1049
91 | 2.2666e-06 | 1.5948e-07 | 3.6584e-07 | 31.06 | 31.7623 | 0.12195 | 10000.3176 |  |  | 5.0585
92 | 2.8454e-06 | 1.8868e-07 | 4.5911e-07 | 30.867 | 31.7526 | 0.15304 | 10000.3175 |  |  | 5.0121
93 | 3.54e-06 | 2.2471e-07 | 5.7381e-07 | 30.6355 | 31.7406 | 0.19128 | 10000.3174 |  |  | 4.9657
94 | 4.4426e-06 | 2.6958e-07 | 7.1762e-07 | 30.3346 | 31.7256 | 0.23922 | 10000.3173 |  |  | 4.9194
95 | 5.6083e-06 | 3.2578e-07 | 8.9974e-07 | 29.946 | 31.7069 | 0.29992 | 10000.3171 |  |  | 4.873
96 | 6.9643e-06 | 3.9493e-07 | 1.1225e-06 | 29.494 | 31.6838 | 0.37419 | 10000.3168 |  |  | 4.8266
97 | 8.6246e-06 | 4.7977e-07 | 1.3947e-06 | 28.9405 | 31.6556 | 0.46491 | 10000.3166 |  |  | 4.7803
98 | 1.054e-05 | 5.8243e-07 | 1.7199e-06 | 28.302 | 31.6213 | 0.5733 | 10000.3162 |  |  | 4.7339
99 | 1.301e-05 | 7.0796e-07 | 2.1184e-06 | 27.4787 | 31.5795 | 0.70616 | 10000.3158 |  |  | 4.6875
100 | 1.5979e-05 | 8.6067e-07 | 2.6028e-06 | 26.4891 | 31.5286 | 0.86761 | 10000.3153 |  |  | 4.6412
101 | 1.9366e-05 | 1.0439e-06 | 3.1776e-06 | 25.36 | 31.4675 | 1.0592 | 10000.3147 |  |  | 4.5948
102 | 2.3281e-05 | 1.2619e-06 | 3.8529e-06 | 24.0551 | 31.3949 | 1.2843 | 10000.3139 |  |  | 4.5484
103 | 2.7891e-05 | 1.5204e-06 | 4.6459e-06 | 22.5183 | 31.3087 | 1.5487 | 10000.3131 |  |  | 4.502
104 | 3.308e-05 | 1.8239e-06 | 5.5634e-06 | 20.7886 | 31.2075 | 1.8545 | 10000.3121 |  |  | 4.4557
105 | 3.9169e-05 | 2.1796e-06 | 6.6285e-06 | 18.7588 | 31.089 | 2.2095 | 10000.3109 |  |  | 4.4093
106 | 4.39e-05 | 2.5731e-06 | 7.742e-06 | 17.182 | 30.9578 | 2.5807 | 10000.3096 |  |  | 4.3629
107 | 4.4771e-05 | 2.9675e-06 | 8.7186e-06 | 16.8917 | 30.8263 | 2.9063 | 10000.3083
108 | 4.4896e-05 | 3.3557e-06 | 9.5698e-06 | 16.85 | 30.6969 | 3.19 | 10000.307
109 | 4.4936e-05 | 3.7372e-06 | 1.0325e-05 | 16.8365 | 30.5697 | 3.4416 | 10000.3057
110 | 4.4943e-05 | 4.1118e-06 | 1.1002e-05 | 16.8341 | 30.4449 | 3.6675 | 10000.3044
111 | 4.4761e-05 | 4.478e-06 | 1.1612e-05 | 16.8949 | 30.3228 | 3.8707 | 10000.3032
112 | 4.4843e-05 | 4.8384e-06 | 1.2173e-05 | 16.8677 | 30.2027 | 4.0576 | 10000.302
113 | 4.4862e-05 | 5.1926e-06 | 1.269e-05 | 16.8613 | 30.0846 | 4.2299 | 10000.3008
114 | 4.2988e-05 | 5.5241e-06 | 1.312e-05 | 17.4859 | 29.9741 | 4.3734 | 10000.2997
115 | 3.8088e-05 | 5.8073e-06 | 1.341e-05 | 19.1194 | 29.8797 | 4.4702 | 10000.2988
116 | 3.5583e-05 | 6.064e-06 | 1.3635e-05 | 19.9544 | 29.7941 | 4.5452 | 10000.2979
117 | 3.4877e-05 | 6.3103e-06 | 1.3835e-05 | 20.1897 | 29.712 | 4.6118 | 10000.2971
118 | 3.4642e-05 | 6.5503e-06 | 1.4021e-05 | 20.2681 | 29.632 | 4.6736 | 10000.2963
119 | 3.4777e-05 | 6.7875e-06 | 1.4199e-05 | 20.2229 | 29.5529 | 4.733 | 10000.2955
120 | 3.4797e-05 | 7.021e-06 | 1.4368e-05 | 20.2162 | 29.4751 | 4.7896 | 10000.2947
121 | 3.4967e-05 | 7.2519e-06 | 1.4532e-05 | 20.1597 | 29.3981 | 4.8442 | 10000.294
122 | 3.4841e-05 | 7.4781e-06 | 1.4686e-05 | 20.2017 | 29.3228 | 4.8954 | 10000.2932
123 | 3.4873e-05 | 7.7008e-06 | 1.4833e-05 | 20.191 | 29.2485 | 4.9444 | 10000.2925
124 | 3.4987e-05 | 7.9208e-06 | 1.4974e-05 | 20.1529 | 29.1752 | 4.9915 | 10000.2918
125 | 3.4971e-05 | 8.1372e-06 | 1.5109e-05 | 20.1581 | 29.103 | 5.0363 | 10000.291
126 | 3.4858e-05 | 8.3493e-06 | 1.5235e-05 | 20.1959 | 29.0323 | 5.0785 | 10000.2903
127 | 3.483e-05 | 8.5578e-06 | 1.5356e-05 | 20.2051 | 28.9628 | 5.1186 | 10000.2896
128 | 3.4981e-05 | 8.7642e-06 | 1.5472e-05 | 20.155 | 28.894 | 5.1575 | 10000.2889
129 | 3.4977e-05 | 8.9674e-06 | 1.5584e-05 | 20.1564 | 28.8263 | 5.1946 | 10000.2883
130 | 3.4817e-05 | 9.1663e-06 | 1.5688e-05 | 20.2097 | 28.76 | 5.2293 | 10000.2876
131 | 3.4811e-05 | 9.362e-06 | 1.5787e-05 | 20.2117 | 28.6948 | 5.2625 | 10000.2869
132 | 3.4694e-05 | 9.554e-06 | 1.5881e-05 | 20.2506 | 28.6308 | 5.2936 | 10000.2863
133 | 3.4964e-05 | 9.745e-06 | 1.5973e-05 | 20.1605 | 28.5671 | 5.3244 | 10000.2857
134 | 3.4933e-05 | 9.933e-06 | 1.6061e-05 | 20.171 | 28.5044 | 5.3537 | 10000.285
135 | 3.4882e-05 | 1.0118e-05 | 1.6144e-05 | 20.1878 | 28.4428 | 5.3815 | 10000.2844
136 | 3.48e-05 | 1.0299e-05 | 1.6223e-05 | 20.2151 | 28.3823 | 5.4078 | 10000.2838
137 | 3.48e-05 | 1.0478e-05 | 1.6298e-05 | 20.2152 | 28.3227 | 5.4328 | 10000.2832
138 | 3.4814e-05 | 1.0654e-05 | 1.637e-05 | 20.2106 | 28.2639 | 5.4569 | 10000.2826
139 | 3.4928e-05 | 1.0829e-05 | 1.644e-05 | 20.1725 | 28.2057 | 5.4802 | 10000.2821
140 | 3.4876e-05 | 1.1001e-05 | 1.6507e-05 | 20.19 | 28.1485 | 5.5023 | 10000.2815
141 | 3.485e-05 | 1.117e-05 | 1.657e-05 | 20.1985 | 28.0921 | 5.5233 | 10000.2809
142 | 3.4837e-05 | 1.1337e-05 | 1.663e-05 | 20.2028 | 28.0365 | 5.5434 | 10000.2804
143 | 3.5011e-05 | 1.1502e-05 | 1.6689e-05 | 20.1449 | 27.9813 | 5.5631 | 10000.2798
144 | 3.5034e-05 | 1.1666e-05 | 1.6746e-05 | 20.1372 | 27.9269 | 5.5821 | 10000.2793
145 | 3.5311e-05 | 1.1829e-05 | 1.6803e-05 | 20.045 | 27.8725 | 5.601 | 10000.2787
146 | 2.2463e-05 | 1.1902e-05 | 1.6768e-05 | 24.3278 | 27.8482 | 5.5894 | 10000.2785
147 | 3.5256e-05 | 1.206e-05 | 1.6821e-05 | 20.0632 | 27.7953 | 5.6071 | 10000.2779
148 | 3.5055e-05 | 1.2216e-05 | 1.687e-05 | 20.1303 | 27.7435 | 5.6234 | 10000.2774
149 | 3.5197e-05 | 1.237e-05 | 1.6918e-05 | 20.0829 | 27.6921 | 5.6394 | 10000.2769
150 | 3.5188e-05 | 1.2522e-05 | 1.6964e-05 | 20.086 | 27.6414 | 5.6546 | 10000.2764
151 | 3.5168e-05 | 1.2672e-05 | 1.7007e-05 | 20.0927 | 27.5914 | 5.6691 | 10000.2759
152 | 3.5158e-05 | 1.282e-05 | 1.7049e-05 | 20.096 | 27.5421 | 5.6829 | 10000.2754
153 | 3.5224e-05 | 1.2966e-05 | 1.7089e-05 | 20.074 | 27.4932 | 5.6963 | 10000.2749
154 | 3.4609e-05 | 1.3107e-05 | 1.7122e-05 | 20.2789 | 27.4464 | 5.7073 | 10000.2745
155 | 3.1512e-05 | 1.3226e-05 | 1.713e-05 | 21.3112 | 27.4068 | 5.7101 | 10000.2741 |  |  | 4.5
156 | 2.8091e-05 | 1.3321e-05 | 1.7116e-05 | 22.4517 | 27.3751 | 5.7055 | 10000.2738 |  |  | 4.5464
157 | 2.4962e-05 | 1.3395e-05 | 1.7086e-05 | 23.4947 | 27.3503 | 5.6956 | 10000.2735 |  |  | 4.5927
158 | 2.1717e-05 | 1.3448e-05 | 1.7045e-05 | 24.5763 | 27.3328 | 5.6817 | 10000.2733 |  |  | 4.6391
159 | 1.8623e-05 | 1.348e-05 | 1.6996e-05 | 25.6077 | 27.3219 | 5.6653 | 10000.2732 |  |  | 4.6855
160 | 1.5713e-05 | 1.3494e-05 | 1.6943e-05 | 26.5776 | 27.3173 | 5.6478 | 10000.2732 |  |  | 4.7319
161 | 1.3246e-05 | 1.3493e-05 | 1.689e-05 | 27.4002 | 27.3178 | 5.6301 | 10000.2732 |  |  | 4.7782
162 | 1.1058e-05 | 1.3478e-05 | 1.6839e-05 | 28.1294 | 27.3228 | 5.613 | 10000.2732 |  |  | 4.8246
163 | 9.2707e-06 | 1.3452e-05 | 1.679e-05 | 28.7252 | 27.3314 | 5.5967 | 10000.2733 |  |  | 4.871
164 | 7.6423e-06 | 1.3417e-05 | 1.6744e-05 | 29.268 | 27.3432 | 5.5815 | 10000.2734 |  |  | 4.9173
165 | 6.2304e-06 | 1.3373e-05 | 1.6703e-05 | 29.7386 | 27.3577 | 5.5676 | 10000.2736 |  |  | 4.9637
166 | 5.0866e-06 | 1.3323e-05 | 1.6664e-05 | 30.1199 | 27.3744 | 5.5549 | 10000.2737 |  |  | 5.0101
167 | 4.2031e-06 | 1.3268e-05 | 1.6629e-05 | 30.4144 | 27.3926 | 5.5431 | 10000.2739 |  |  | 5.0564
168 | 3.4224e-06 | 1.321e-05 | 1.6597e-05 | 30.6747 | 27.4121 | 5.5323 | 10000.2741 |  |  | 5.1028
169 | 2.7689e-06 | 1.3148e-05 | 1.6567e-05 | 30.8925 | 27.4327 | 5.5223 | 10000.2743 |  |  | 5.1492
170 | 2.2548e-06 | 1.3084e-05 | 1.6539e-05 | 31.0639 | 27.4541 | 5.513 | 10000.2745 |  |  | 5.1956
171 | 1.8019e-06 | 1.3018e-05 | 1.6512e-05 | 31.2148 | 27.4761 | 5.5042 | 10000.2748 |  |  | 5.2419
172 | 1.5161e-06 | 1.2951e-05 | 1.6487e-05 | 31.3101 | 27.4984 | 5.4959 | 10000.275 |  |  | 5.2883
173 | 1.2576e-06 | 1.2884e-05 | 1.6463e-05 | 31.3963 | 27.5209 | 5.4879 | 10000.2752 |  |  | 5.3347
174 | 9.984e-07 | 1.2815e-05 | 1.644e-05 | 31.4827 | 27.5437 | 5.4803 | 10000.2754 |  |  | 5.381
175 | 8.4576e-07 | 1.2747e-05 | 1.6418e-05 | 31.5336 | 27.5665 | 5.4728 | 10000.2757 |  |  | 5.4274
176 | 6.9144e-07 | 1.2678e-05 | 1.6396e-05 | 31.585 | 27.5893 | 5.4656 | 10000.2759 |  |  | 5.4738
177 | 5.7624e-07 | 1.261e-05 | 1.6375e-05 | 31.6234 | 27.6121 | 5.4584 | 10000.2761 |  |  | 5.5202
178 | 4.7856e-07 | 1.2542e-05 | 1.6354e-05 | 31.656 | 27.6348 | 5.4514 | 10000.2764 |  |  | 5.5665
179 | 4.0464e-07 | 1.2474e-05 | 1.6333e-05 | 31.6806 | 27.6574 | 5.4445 | 10000.2766 |  |  | 5.6129
180 | 3.5088e-07 | 1.2407e-05 | 1.6313e-05 | 31.6985 | 27.6798 | 5.4376 | 10000.2768 |  |  | 5.6593
181 | 2.7312e-07 | 1.234e-05 | 1.6292e-05 | 31.7245 | 27.7022 | 5.4308 | 10000.277 |  |  | 5.7056
182 | 3.072e-07 | 1.2274e-05 | 1.6272e-05 | 31.7131 | 27.7242 | 5.4239 | 10000.2772 |  |  | 5.752
183 | 2.16e-07 | 1.2208e-05 | 1.6251e-05 | 31.7435 | 27.7462 | 5.4172 | 10000.2775 |  |  | 5.7984
184 | 1.788e-07 | 1.2142e-05 | 1.6231e-05 | 31.7559 | 27.768 | 5.4104 | 10000.2777 |  |  | 5.8448
185 | 1.6776e-07 | 1.2078e-05 | 1.6211e-05 | 31.7596 | 27.7896 | 5.4037 | 10000.2779 |  |  | 5.8911
186 | 1.1664e-07 | 1.2013e-05 | 1.6191e-05 | 31.7766 | 27.811 | 5.397 | 10000.2781 |  |  | 5.9375
187 | 1.212e-07 | 1.195e-05 | 1.617e-05 | 31.7751 | 27.8322 | 5.3903 | 10000.2783 |  |  | 5.9839
188 | 9.984e-08 | 1.1887e-05 | 1.615e-05 | 31.7822 | 27.8532 | 5.3835 | 10000.2785 |  |  | 6.0302
189 | 1.08e-07 | 1.1824e-05 | 1.613e-05 | 31.7795 | 27.874 | 5.3768 | 10000.2787 |  |  | 6.0766
190 | 1.272e-07 | 1.1763e-05 | 1.611e-05 | 31.7731 | 27.8945 | 5.37 | 10000.2789 |  |  | 6.123
191 | 7.536e-08 | 1.1702e-05 | 1.609e-05 | 31.7904 | 27.9149 | 5.3633 | 10000.2792 |  |  | 6.1693
192 | 1.0128e-07 | 1.1641e-05 | 1.6069e-05 | 31.7817 | 27.9351 | 5.3565 | 10000.2794 |  |  | 6.2157
193 | 6.264e-08 | 1.1581e-05 | 1.6049e-05 | 31.7946 | 27.955 | 5.3497 | 10000.2795 |  |  | 6.2621
194 | 6.432e-08 | 1.1522e-05 | 1.6029e-05 | 31.7941 | 27.9748 | 5.343 | 10000.2797 |  |  | 6.3085
195 | 9.696e-08 | 1.1463e-05 | 1.6008e-05 | 31.7832 | 27.9944 | 5.3362 | 10000.2799 |  |  | 6.3548
196 | 4.008e-08 | 1.1405e-05 | 1.5988e-05 | 31.8021 | 28.0138 | 5.3294 | 10000.2801 |  |  | 6.4012
197 | 4.44e-08 | 1.1347e-05 | 1.5968e-05 | 31.8007 | 28.033 | 5.3226 | 10000.2803 |  |  | 6.4476
198 | 5.088e-08 | 1.129e-05 | 1.5947e-05 | 31.7985 | 28.052 | 5.3159 | 10000.2805 |  |  | 6.4939
199 | 5.736e-08 | 1.1234e-05 | 1.5927e-05 | 31.7964 | 28.0709 | 5.3091 | 10000.2807 |  |  | 6.5403
200 | 5.568e-08 | 1.1178e-05 | 1.5906e-05 | 31.7969 | 28.0895 | 5.3022 | 10000.2809 |  |  | 6.5867
201 | 2.712e-08 | 1.1122e-05 | 1.5886e-05 | 31.8065 | 28.108 | 5.2955 | 10000.2811 |  |  | 6.6331
202 | 5.16e-08 | 1.1068e-05 | 1.5866e-05 | 31.7983 | 28.1262 | 5.2887 | 10000.2813 |  |  | 6.6794
203 | 3.696e-08 | 1.1013e-05 | 1.5845e-05 | 31.8032 | 28.1443 | 5.2819 | 10000.2814 |  |  | 6.7258
204 | 4.944e-08 | 1.0959e-05 | 1.5825e-05 | 31.799 | 28.1623 | 5.275 | 10000.2816 |  |  | 6.7722
205 | 5.232e-08 | 1.0906e-05 | 1.5804e-05 | 31.7981 | 28.18 | 5.2682 | 10000.2818 |  |  | 6.8185
206 | 2.208e-08 | 1.0853e-05 | 1.5784e-05 | 31.8081 | 28.1976 | 5.2614 | 10000.282 |  |  | 6.8649
207 | 0.00010211 | 1.1294e-05 | 1.6975e-05 |  | 28.0507 | 5.6585 | 10000.2805 |  |  | 6.9113
208 | 1.9321e-05 | 1.1333e-05 | 1.6943e-05 |  | 28.0378 | 5.6479 | 10000.2804 |  |  | 6.9576
209 | -3.432e-08 | 1.1279e-05 | 1.6921e-05 | 31.8269 | 28.0559 | 5.6404 | 10000.2806 |  |  | 7.004